CHANGE ORDER LOG

MHP-2026-BANDO-001 | 1-Story Bandominium -- 2,500 sqft

| Field | Value |
| --- | --- |
| Original Contract Amount | $449,870 |
| Total Approved Change Orders | $0 |
| Revised Contract Amount | $449,870 |

Common Change Orders to Anticipate

The following items are common on bandominium / new build projects and are NOT included in the base estimate:

| Potential Change Order | Estimated Range |
| --- | --- |
| Foundation engineering changes (soil conditions) | $2,500 - $8,000 |
| HVAC upgrade -- full mini-split system throughout | +$4,000 - $7,000 |
| Window package upgrade (wood-clad or impact) | +$3,500 - $8,000 |
| Standing seam metal roof upgrade (vs R-panel) | +$5,500 - $9,000 |
| Spray foam roof deck -- additional thickness | +$2,500 - $4,500 |
| Additional sheetrock / wall changes | +$1,500 - $4,000 |
| Electrical panel upgrade to 400A | +$2,200 - $3,500 |
| Cabinetry upgrade (full-custom) | +$4,000 - $10,000 |
| Flooring upgrade (hardwood vs LVP) | +$4,000 - $12,000 |
| Countertop upgrade (exotic slab) | +$2,000 - $5,500 |
| Plumbing fixture upgrade (premium) | +$2,000 - $4,500 |
| Septic system design + installation | $8,000 - $18,000 |
| Concrete stained/scored floors (in lieu of LVP) | -$2,000 - +$3,000 net |
| Covered back porch addition | $6,500 - $12,000 |
| Shop / additional outbuilding | Separate estimate |
| Additional sodding / landscaping | $1,500 - $5,000 |
| Privacy fence | $4,000 - $9,000 |

CHANGE ORDER FORM

CHANGE ORDER # ____

Project: MHP-2026-BANDO-001

Date: ___________

Owner: ___________

DESCRIPTION OF CHANGE:

___________________________________________

___________________________________________

REASON FOR CHANGE:

[ ] Owner Request

[ ] Unforeseen Conditions

[ ] Design Change

[ ] Code Requirement

COST IMPACT:

Materials: $___________

Labor:     $___________

Total CO:  $___________

SCHEDULE IMPACT: ___ days

ORIGINAL CONTRACT:     $449,870

PREVIOUS COs:          $___________

THIS CHANGE ORDER:     $___________

REVISED CONTRACT:      $___________

Owner Signature: _________________ Date: _______

MHP Signature:   _________________ Date: _______

Approved Change Orders: None at this time.