## Infrastructure Estimate
NORTH MS HOME PROS — INFRASTRUCTURE ESTIMATE
2,250 SF New Home Build — Site & Utility Contract (Separate from Building)
Project: | 2250 SF New Home Build |  |  |  | Category: | INFRASTRUCTURE (separate contract)
Client: | [Client Name] |  |  |  | Date: | March 10, 2026
Address: | [Project Address], MS |  |  |  | Valid Through: | April 10, 2026
Category: | INFRASTRUCTURE (separate contract)
Date: | March 10, 2026
Valid Through: | April 10, 2026
# | Description | Qty | Unit | Material $ (Actual) | Labor $ (Actual) | Retail $/Unit (Client) | Retail Extended (Client) | Actual $/Unit (Internal) | Actual Extended (Internal) | Markup %
|  |  |  | ⬆ INTERNAL ONLY — NOT ON CLIENT DOCS ⬆ |  |  |  | ⬆ INTERNAL ONLY ⬆
GENERAL CONDITIONS / PRE-CONSTRUCTION
1 | General Conditions (8 weeks) | 1 | lot | 1200 | 0 | 2400 | 2400 | 1200 | 1200 | 100%
2 | Project Coordination / Supervision | 1 | lot | 0 | 3500 | 5500 | 5500 | 3500 | 3500 | 57.14%
3 | Engineering / Site Survey | 1 | lot | 2800 | 0 | 3500 | 3500 | 2800 | 2800 | 25%
4 | Soil Testing / Perc Test | 1 | lot | 800 | 0 | 1200 | 1200 | 800 | 800 | 50%
5 | Erosion Control (silt fence, inlet protection) | 1 | lot | 650 | 400 | 1600 | 1600 | 1050 | 1050 | 52.38%
6 | Building Permits (infrastructure) | 1 | lot | 1800 | 0 | 1800 | 1800 | 1800 | 1800 | 0%
7 | Portable Sanitary Facilities (8 weeks) | 2 | month | 175 | 0 | 250 | 500 | 175 | 350 | 42.86%
| SUBTOTAL — GENERAL CONDITIONS / PRE-CONSTRUCTION | [5 empty] | 16500 |  | 11500
LAND SETUP
8 | Land Clearing — trees, brush, stumps (1 acre) | 1 | acre | 2800 | 3200 | 8500 | 8500 | 6000 | 6000 | 41.67%
9 | Stump Grinding / Removal | 1 | lot | 400 | 600 | 1500 | 1500 | 1000 | 1000 | 50%
10 | Grading / Rough Earthwork — house pad & yard | 1 | lot | 1200 | 2800 | 6500 | 6500 | 4000 | 4000 | 62.5%
11 | Fill Dirt — delivered & compacted | 120 | cu yd | 18 | 8 | 38 | 4560 | 26 | 3120 | 46.15%
12 | Fine Grading — final pad prep for slab | 1 | lot | 200 | 1400 | 2500 | 2500 | 1600 | 1600 | 56.25%
13 | Topsoil — respread after construction (yard areas) | 80 | cu yd | 22 | 6 | 42 | 3360 | 28 | 2240 | 50%
14 | Erosion Control Maintenance (duration of project) | 1 | lot | 300 | 400 | 1000 | 1000 | 700 | 700 | 42.86%
| SUBTOTAL — LAND SETUP | [5 empty] | 27920 |  | 18660
DRIVEWAY & ACCESS
15 | Driveway — gravel base (75 ft × 12 ft, 6" depth) | 50 | ton | 28 | 0 | 42 | 2100 | 28 | 1400 | 50%
16 | Driveway — concrete (75 ft × 12 ft × 4") | 33 | cu yd | 145 | 65 | 295 | 9735 | 210 | 6930 | 40.48%
17 | Driveway Forming & Reinforcement (wire mesh, rebar) | 900 | sq ft | 0.85 | 1.25 | 3.25 | 2925 | 2.1 | 1890 | 54.76%
18 | Concrete Pump Truck (driveway pour) | 1 | each | 1200 | 0 | 1500 | 1500 | 1200 | 1200 | 25%
19 | Concrete Finishing / Broom Finish | 900 | sq ft | 0 | 1.5 | 2.25 | 2025 | 1.5 | 1350 | 50%
20 | Culvert Pipe (24" HDPE, road crossing) | 20 | lin ft | 32 | 18 | 72 | 1440 | 50 | 1000 | 44%
| SUBTOTAL — DRIVEWAY & ACCESS | [5 empty] | 19725 |  | 13770
WELL
21 | Well Drilling — 150 ft depth (6" bore) | 150 | lin ft | 0 | 18 | 28 | 4200 | 18 | 2700 | 55.56%
22 | Well Casing — 6" PVC, 150 ft | 150 | lin ft | 8.5 | 0 | 12 | 1800 | 8.5 | 1275 | 41.18%
23 | Well Screen & Gravel Pack | 1 | lot | 450 | 200 | 950 | 950 | 650 | 650 | 46.15%
24 | Submersible Well Pump — 1 HP (Grundfos/Franklin) | 1 | each | 1800 | 400 | 3200 | 3200 | 2200 | 2200 | 45.45%
25 | Pressure Tank — 80 gallon (Flexcon) | 1 | each | 850 | 250 | 1600 | 1600 | 1100 | 1100 | 45.45%
26 | Well Pump Wire & Controls | 1 | lot | 600 | 350 | 1400 | 1400 | 950 | 950 | 47.37%
27 | Pitless Adapter | 1 | each | 125 | 75 | 300 | 300 | 200 | 200 | 50%
28 | Well Head Completion & Sanitization | 1 | lot | 150 | 300 | 650 | 650 | 450 | 450 | 44.44%
29 | Water Line — well to house (1" poly, 75 ft trench) | 75 | lin ft | 4.5 | 6 | 16 | 1200 | 10.5 | 787.5 | 52.38%
30 | Pressure Switch, Gauge & Check Valve | 1 | lot | 185 | 125 | 450 | 450 | 310 | 310 | 45.16%
| SUBTOTAL — WELL | [5 empty] | 15750 |  | 10622.5
SEPTIC SYSTEM
31 | Septic System Design & Permit | 1 | lot | 1500 | 0 | 2000 | 2000 | 1500 | 1500 | 33.33%
32 | Septic Tank — 1,000 gallon precast concrete | 1 | each | 2200 | 800 | 4500 | 4500 | 3000 | 3000 | 50%
33 | Distribution Box | 1 | each | 350 | 150 | 750 | 750 | 500 | 500 | 50%
34 | Drain Field Pipe — 4" perforated (300 lin ft) | 300 | lin ft | 3.5 | 2.5 | 9 | 2700 | 6 | 1800 | 50%
35 | Drain Field Gravel / Aggregate (40 tons) | 40 | ton | 32 | 0 | 48 | 1920 | 32 | 1280 | 50%
36 | Drain Field Fabric / Filter | 1 | lot | 350 | 0 | 500 | 500 | 350 | 350 | 42.86%
37 | Septic Excavation & Installation Labor | 1 | lot | 0 | 4500 | 6500 | 6500 | 4500 | 4500 | 44.44%
38 | Sewer Line — house to septic (4" PVC, 50 ft) | 50 | lin ft | 6 | 8 | 22 | 1100 | 14 | 700 | 57.14%
39 | Septic System Inspection & Certification | 1 | lot | 500 | 0 | 650 | 650 | 500 | 500 | 30%
40 | Septic Risers & Lids (2) | 2 | each | 125 | 75 | 300 | 600 | 200 | 400 | 50%
| SUBTOTAL — SEPTIC SYSTEM | [5 empty] | 21220 |  | 14530
UNDERGROUND PLUMBING
41 | Water Service — meter to house (1" copper, 100 ft trench) | 100 | lin ft | 8 | 6 | 22 | 2200 | 14 | 1400 | 57.14%
42 | Underground Drain Lines (house stub-outs to sewer line) | 1 | lot | 800 | 1200 | 3000 | 3000 | 2000 | 2000 | 50%
43 | Backflow Preventer (irrigation tap) | 1 | each | 225 | 125 | 500 | 500 | 350 | 350 | 42.86%
44 | Hose Bibb Rough-in (exterior, 3 locations) | 3 | each | 45 | 75 | 175 | 525 | 120 | 360 | 45.83%
45 | Gas Line — underground (LP from tank to house, 80 ft) | 80 | lin ft | 6.5 | 5 | 18 | 1440 | 11.5 | 920 | 56.52%
46 | LP Gas Tank Pad & Set (500 gallon above-ground) | 1 | each | 400 | 350 | 1100 | 1100 | 750 | 750 | 46.67%
| SUBTOTAL — UNDERGROUND PLUMBING | [5 empty] | 8765 |  | 5780
ELECTRICAL SERVICE
47 | Temporary Power Pole & Meter (construction phase) | 1 | each | 600 | 400 | 1500 | 1500 | 1000 | 1000 | 50%
48 | Electrical Service — utility to meter base (200A, 100 ft) | 100 | lin ft | 12 | 8 | 28 | 2800 | 20 | 2000 | 40%
49 | Meter Base & Disconnect (200A, outdoor rated) | 1 | each | 450 | 250 | 1000 | 1000 | 700 | 700 | 42.86%
50 | Underground Conduit & Wire — meter to panel (2" PVC, 50 ft) | 50 | lin ft | 14 | 8 | 32 | 1600 | 22 | 1100 | 45.45%
51 | Electrical Trenching (200 lin ft total) | 200 | lin ft | 0 | 4.5 | 7 | 1400 | 4.5 | 900 | 55.56%
52 | Underground Conduit — low voltage (phone, cable, fiber) | 100 | lin ft | 3.5 | 3 | 9.5 | 950 | 6.5 | 650 | 46.15%
53 | Grounding System (ground rods, bonding) | 1 | lot | 175 | 150 | 500 | 500 | 325 | 325 | 53.85%
| SUBTOTAL — ELECTRICAL SERVICE | [5 empty] | 9750 |  | 6675
STORMWATER & DRAINAGE
54 | French Drain — perimeter (4" perf pipe, 120 ft) | 120 | lin ft | 6 | 5 | 16 | 1920 | 11 | 1320 | 45.45%
55 | Downspout Drain Lines (underground, 6 runs × 20 ft) | 120 | lin ft | 3.5 | 3 | 10 | 1200 | 6.5 | 780 | 53.85%
56 | Catch Basin / Yard Drain (2 units) | 2 | each | 175 | 150 | 500 | 1000 | 325 | 650 | 53.85%
57 | Drainage Gravel / Aggregate | 15 | ton | 32 | 0 | 48 | 720 | 32 | 480 | 50%
58 | Sod / Seed — disturbed areas restoration | 1 | lot | 1200 | 800 | 3000 | 3000 | 2000 | 2000 | 50%
| SUBTOTAL — STORMWATER & DRAINAGE | [5 empty] | 7840 |  | 5230
WASTE MANAGEMENT
59 | Construction Dumpster — 30 yard (infrastructure phase) | 2 | each | 550 | 0 | 700 | 1400 | 550 | 1100 | 27.27%
60 | Final Site Cleanup — infrastructure | 1 | lot | 0 | 600 | 850 | 850 | 600 | 600 | 41.67%
| SUBTOTAL — WASTE MANAGEMENT | [5 empty] | 2250 |  | 1700
| SUBTOTAL — ALL LINE ITEMS | [5 empty] | 129720 |  | 88467.5
| Overhead & Profit (15%) | [5 empty] | 19458
| Contingency (10%) | [5 empty] | 12972
| Sales Tax (7%) | [5 empty] | 9080.4
| INFRASTRUCTURE GRAND TOTAL | [5 empty] | 171230.4 |  | 88467.5
INFRASTRUCTURE MARGIN SUMMARY
| Total Retail (Client Price): |  | 171230.4
| Total Actual Cost (Internal): |  | 88467.5
| Gross Profit: |  | 82762.9
| Gross Margin %: |  | 48.33%
NOTE: This infrastructure contract is billed SEPARATELY from the building contract.
Infrastructure costs are NOT included in the building $/sqft calculation.